## Slide 1: Operation and Maintenance of Rainwater Harvesting Systems

## Slide 2: You Are Your Water Supply Maintenance Guy

## Slide 3: Some Locations Require Constant Care

## Slide 4: House Built Around 1860 Still On Rainwater

## Slide 5: Liability Exposure
There is inherent liability exposure where in-home potable collection systems are installed
Following manufacturer recommendations are necessary
Following EPA Recommendations reduce that exposure
But once completed…….

## Slide 6
There are no statutes or regulations at the state or federal level currently that regulate the potable and non-potable indoor use of domestic well water systems
Private rainwater harvesting systems that provide water to individual homes to be similar to the regulatory status of private wells that serve individual homes in Texas.

## Slide 7: TCEQ Recommendations: Test Your Water
Non-potable use:
  Total coliforms – less than 500 cfu/100 ml
  Fecal coliforms – less than 100 cfu/100 ml
Potable use:
  Turbidity below 1 NTU
  Disinfect – zero coliforms
  No Giardia, Cryptosporidium, or viruses
Recommend testing quarterly
Approved labs on website?

## Slide 8: System Maintenance
Develop a maintenance checklist
Develop and use a schedule for maintaining system
Keep a Diary of maintenance –and Usage

## Slide 9: System Maintenance
An ongoing process to be improved and expanded over time.
  additional roof where water can be harvested
  Increased storage capacity
  Improved filtration systems
  Inspect your water harvesting system before each rainy season (and, ideally, after every rainfall) to keep the system operating optimally.

## Slide 10: 6 Big Things:
Clean and Maintain Gutters
Clean and Maintain Filters
Check First Flush
Monitor Water Levels
Change Out
  UV Light, supplies
Check for Leaks

## Slide 11: Roof Maintenance

## Slide 12: Check, Clean and maintain Gutters, Leaf Guards, Screens and First Flush

## Slide 19: Keep Your System in Top Condition:
Keep limbs and debris away from your roof
Keep debris out of gutters and downspouts
Keep roof washers/diverters/screens clean
Inspect tanks, lines, connections for leaks
Keep area clean and free of trash or vegetation

## Slide 20: Replace Bulbs Annually Or By Manufacturer Instructions

## Slide 21: Make Sure All Parts Are Working Like They Are Supposed To

## Slide 22: Freeze Concerns
Don’t Let Your Frog Freeze

## Slide 23: Insulation
Protect your plumbing as you would
any other plumbing
Tanks can be buried below the freeze
line in colder climates

## Slide 24: But Empty Tanks Float

## Slide 25: Tanks Insulate Greenhouse

## Slide 26: Be Conscious of Septic Systems or Possible Contamination

## Slide 27: Fix The Gutter

## Slide 28: Drains For Pipes – Create Dry Line

## Slide 29: Once Lines Are Buried Do Not Mess Them Up

## Slide 30: Storage Tanks Under Ground Are Not As Easy To Check

## Slide 31: Swelling and Shrinking May Shift Your House – foundation - Tanks

## Slide 35
Label Pipes and faucet

## Slide 42: Pass Your Knowledge on to Others

## Slide 48: Trees and Leaves
Leaves
  Leaf guards
  Screen
Pollen and Catkins
  Increase first flush
  Don’t catch it at all if you do not need it
Prune trees

## Slide 49: I like Open Gutters

## Slide 50
Leaf Guards

## Slide 51: Cover It Up

## Slide 52: Paint Your Tanks To Make Them Cooler and Last Longer

## Slide 54: Toilets, Laundry, Washing Vehicles – Use Water Twice

## Slide 56: ARCSA Accredited Rainwater Professional
ARCSA application completed and approved
Pay $120 fee
100 question test – passing grade of 70
Attend approved ARCSA workshop
Once accredited –
  Obtain CEUs
  Maintain membership

## Slide 57: Continuing Education Credits
Currently all names will stay on the web list for free as long as they:
Attend and turn in to ARCSA 3 Continuing Education Units (CEU’s) Annually
Maintain ARCSA Membership
Maintain Professionalism

## Slide 58
The American Rainwater Catchment Systems Association
hereby certifies that
BILLY KNIFFEN
has successfully demonstrated knowledge of the
rainwater catchment systems design and construction industry and
has passed the ARCSA endorsed written exam and field workshop process that is required
to be awarded the title of
ARCSA Accredited Rainwater Professional
_________________________________________ ____________________________
Tim Pope, Dennis Lye,
President 2007 Vice President 2005-

## Slide 59
ARCSA Rainwater Catchment Systems Accredited Professionals
ARCSA members who have completed the certification course:

## Slide 60
my Almond-Laechelin, Texas
E.W. "Bob" Boulware, Design-Aire Engineering, Indiana
Dale Branum, TLC Landscapes, Texas
Aldo Cantu, Sr., A's Pest & Lawn Solutions, Texas
Aldo Cantu, Jr., A's Pest & Lawn Solutions, Texas
John W. (Bill) Carter, Texas Commission on Environmental Quality, Texas
Colin Chatfield, Pioneer Water Tanks, Texas
James P. Champion, Texas
Wayne R. Classen, Classen Construction, Texas
Marilyn Crenshaw, The Green Architect, California
Cado Daily, University of Arizona Cooperative Extension, Arizona
Rick Daniel, Rainwater Harvesting Solutions, Texas
Mary Fernandez, Bexar County Master Gardeners, Texas
Dan Fleming, Texas
Phil Gagorik, Hawaii Volcanoes National Park, Hawaii
Harold Hart, Pural Water Specialty Co., Inc., Hawaii
Rusty Hendrickson, Ranch Tech, Texas
John Holmgreen, SparkleTap Water Company, Texas
Fouad Jaber, Texas A&M University, Texas
T. Barnabas Kane, T. Barnabas Kane and Associates, Arizona
Lou Kellogg, Texas
John C. Kight, Texas
Mark Kight, Hill Country Water Solutions, Texas
Heather Kinkade-Levario, ARCADIS/Forgotten Rain, Arizona
Clair Klock, Clackamas Soil and Water Conservation District, Oregon
Billy Kniffen, Texas Cooperative Extension, Texas
Dr. Hari J. Krishna, Texas Water Development Board, Texas
Robert Laechelin, Texas
Stefan Larsson, Big Island Catchment Cleaning, Hawaii
Phil Lebkuecher, Texas
Scott Leonard, Paliuli Home Inspection, Hawaii
Jeffrey Lux, Lux Inspections/Housemaster, Hawaii
Harvey Mabry, Wimberly H2O, Texas
Patricia Macomber, University of Hawaii at Manoa, Hawaii
Sylvan Magnus, Arizona
Bobby Markowitz, Earthcraft Design, California
Scott Mathers, Ocotillo Home & Energy, California
Chris Maxwell-Gaines, Innovative Water Solutions, Texas
Ross McGerty, Kaala Builders, Hawaii
Justin Mechell, Texas Cooperative Extension, Texas
Keith Miller, Bowerbird Construction, Inc., Texas
Beth Mortenson, Catch the Rain, LLC, Texas
Eric Okazaki, Pural Water Specialty Co., Inc., Hawaii
Ramiro Ortiz, Texas
Cynthia Owens, Full Circle, Texas
David Owens, Full Circle, Texas
Tim Pope, Washington
Jack Schultz, PE, Solar Utilities Company, California
Bert Shimasaki, Pural Water Specialty Co., Inc., Hawaii
Christina Swan, Contra Costa Water District, California
Joe Wheeler, Rainfilters of Texas, LLC, Texas
Phil Lebkuecher, Texas
Scott Leonard, Paliuli Home Inspection, Hawaii
Jeffrey Lux, Lux Inspections/Housemaster, Hawaii
Harvey Mabry, Wimberly H2O, Texas
Patricia Macomber, University of Hawaii at Manoa, Hawaii
Sylvan Magnus, Arizona
Bobby Markowitz, Earthcraft Design, California
Scott Mathers, Ocotillo Home & Energy, California
Chris Maxwell-Gaines, Innovative Water Solutions, Texas
Ross McGerty, Kaala Builders, Hawaii
Justin Mechell, Texas Cooperative Extension, Texas
Keith Miller, Bowerbird Construction, Inc., Texas
Beth Mortenson, Catch the Rain, LLC, Texas
Eric Okazaki, Pural Water Specialty Co., Inc., Hawaii
Ramiro Ortiz, Texas
Cynthia Owens, Full Circle, Texas
David Owens, Full Circle, Texas
Tim Pope, Washington
Jack Schultz, PE, Solar Utilities Company, California
Bert Shimasaki, Pural Water Specialty Co., Inc., Hawaii
Christina Swan, Contra Costa Water District, California
Joe Wheeler, Rainfilters of Texas, LLC, Texas

## Slide 62: Maintenance Worksheet

## Slide 63: American Rainwater Capture Systems Association Hawaii, Texas, Washington, Arizona Chapters