## Slide 4: Siting of installations

## Slide 5: Guemes Is. Wa., 9000 gal

## Slide 6: 4@1440 gallon tanks under deck

## Slide 8: 2 additional 1440 gal tanks under other end of deck

## Slide 9: Sometimes logistics add challenges

## Slide 10
Manufactured home
Lopez Island

## Slide 11
14040 gallons storage, Manufactured home
Lopez Island.

## Slide 12
5000 sq. ft., Lopez Island

## Slide 13
20,000 gallons

## Slide 14
6,500 sq. ft., San Juan Island

## Slide 15
20,000 gallons

## Slide 16
11,700 gallons, new construction
located under future deck

## Slide 17
located under new deck

## Slide 18
Forest Cabin Shaw Island
Tanks to right in blackberries

## Slide 19
30,000 gallons storage
Lopez Island

## Slide 20: 15,000 gallon tank San Juan Is.

## Slide 21: 4 @2340 gallon tanks
9600 gallons

## Slide 22
As seen in July 2003 Sunset Magazine
Orcas Island rental cabin

## Slide 23
New construction
Orcas Island

## Slide 24
new construction
catchment required for
building permit

## Slide 26: 4000 gallon tank

## Slide 28: Very overbuilt pad

## Slide 30: 15,000 gallon tank adjacent to new home. Required for permit

## Slide 31: Small water front home tanks located behind in forest

## Slide 32: 4@2340 gallon tanks behind house

## Slide 33: Opposite view from tanks to house in distance

## Slide 34: 4@2340 gallon tanks saltwater intruded well

## Slide 35: Building lot too small for well and septic. Catchment tanks in basement

## Slide 40: New construction lopez Is. Catchment required for permit salt water intruded well

## Slide 41: Above ground tanks
Roto Molded Plastic

## Slide 42: 12@2340 tanks in final installation for irrigation

## Slide 44: Backwoods installation

## Slide 45: The beaten path

## Slide 46: Tight squeeze

## Slide 47: Galvanized Steel Poly Liner

## Slide 48: 10,000 gallons 5meters wide x 2 meters high

## Slide 49: 15,000 gallons 5 meters wide x 3 meters high

## Slide 50: 20,000 gallons 7 meters wide x 2 meters high

## Slide 51: 30,000 gallons 7meters wide x 3 meters high

## Slide 52: 50,000 gallons 9 meters wide x 3 meters high

## Slide 53: She can’t live with “only” 50,000 gallons

## Slide 54: San Juan fire district #3 9000 square foot fire station

## Slide 55
30,000 gallon storage tank for Fire District #3
Primary supply is rooftop, secondary is well.
15,000 gallons reserved for fire sprinklers
15,000 gallons reserved for filling tank truck

## Slide 56: Adjacent to pump house

## Slide 57: Early gravel and paver foundations

## Slide 58: Now county requires engineered foundation

## Slide 59: Top Ring

## Slide 60: Add roof

## Slide 61: Finish roof

## Slide 62: Jack up top ring and roof

## Slide 63: Add second ring

## Slide 68: Install liner

## Slide 69: How not to collect

## Slide 70: 10,000 gallon storage Crane Island

## Slide 71: 20,000 gallon storage shaw island

## Slide 72: Poly Box Tanks

## Slide 73: Waterfront home, low bank. Box tanks under deck

## Slide 76: Wall Tanks

## Slide 80: Good roof design for snow load

## Slide 81: Poor roof design for snow load

## Slide 82: Note how manways are away from wall of tank and span of roof between manways is short. Good snow support

## Slide 83: Top view

## Slide 84: Underground storage

## Slide 86: 1600 gallon underground tank

## Slide 88
Our most exciting installation big toys

## Slide 90
first of 9, 1500 gallon buried cisterns

## Slide 91
13,500 gallons total capacity
tanks manifolded together at bottom

## Slide 92: Pea gravel fill over tanks

## Slide 93: Rebuild patio

## Slide 94: Finished patio looking north

## Slide 95: Finished patio looking south

## Slide 96: Kilroy was here

## Slide 97
12,500 gallons, san juan island

## Slide 99: Gravity Collection

## Slide 106: Pumped Collection

## Slide 107
250 gallon underground transfer tank

## Slide 108
250 gallon ball/transfer tank
buried in the only soil
we could find

## Slide 109: 30,000 gallon tank located 130 feet above residence

## Slide 110: 60 gallon collection/transfer tank

## Slide 111: 60 gallon collection/transfer tank

## Slide 112: Canadian/American cross border wars

## Slide 113: Transfer Pumps for Pumped Collection

## Slide 116: NSF approved roof coating

## Slide 118
Potable roll on roof coating
NSF approved Standard 42
Shaw Island

## Slide 119: Pressure Pumping Systems

## Slide 123: Disinfection

## Slide 127: System layout

## Slide 128: Early system, too much filtration

## Slide 129: Simple System

## Slide 130: Simple system, insulated enclosure

## Slide 131: Simple system in storage shed

## Slide 132: Simple system with pressure tank

## Slide 133
Pumping
Filtration
Ultra Violet

## Slide 134: Diabolically complicated layout. Its what the owner wanted

## Slide 135: Page two